## Submission Checklist
Checklist
1 | Read and follow guidelines on the Sample Preparation tab
2 | Complete the Sequencing Intake tab. Print a copy and include it with your samples
3 | DNA preps are securely sealed in sterile 1.5 ml tubes. Use 8-strip PCR tubes or sealed 96-well plates for > 24 samples.
4 | Samples can be dropped off in person Monday-Friday 10 am - 4 pm or shipped on wet ice or dry ice by courier to
Metagenom Bio Life Science
550 Parkside Drive, Unit A9
Waterloo, ON N2L 5V4
Canada
5 | Are you interested in advanced analytics for your data? Visit metagenombio.com or email info@metagenom.com for more information.
6 | Submit this document at metagenom.com/submit-online

## Sample Preparation
Sample preparation
1 | If DNA extraction is required, please supply detailed information about the sample so the most appropriate DNA extraction method can be used
2 | DNA samples should be 20 μl in volume per marker gene (amplicon) and 1-10 ng/μl in concentration
3 | DNA preps should be free of humic acids, organic chemicals (phenol, chloroform), EDTA, and any other contaminant that would inhibit PCR amplification
4 | If possible, DNA should be quantified using Qubit fluorometer or by agarose gel electrophoresis
5 | Please note that DNA concentrations are always overestimated by NanoDrop spectrophotometer
6 | Each sample name must be unique and the name written on this form must match the name written on the sample tube
7 | Sample names should not contain following characters ? ( ) [ ] / \ = + < > : ; " ' , * ^ ¦ &
8 | Provide the sample volume, concentration, and measurement method
9 | Attach Bioanalyzer or agarose gel images of the samples to this form and make sure to clearly label the sample wells and ladder sizes
10 | Please provide the 260/280 ratio (when applicable) and identify the method that was used for sample
11 | DNA preps should be securely sealed in 1.5 ml sterile tubes. If submitting > 24 samples please use either a sealed 96-well plate or 8-strip PCR tubes

## Sequencing Intake
Metagenom Bio Sequence Sample Submission Form
Please ship to the Metagenom Bio sequencing facility (address below)
We will not accept samples unless accompanied by this signed and completed form.
Where possible please keep an aliquot of your sample when submitting to Metagenom Bio (i.e., do not submit your entire sample). We will discard your samples three months after sequencing. Please let us know within this window if you would like additional sequencing (e.g., different marker gene, higher coverage).
Customer Information
Customer name: |  |  |  |  | Email:
PI name: |  |  |  |  | Email:
Institution/Business:
Address:
Phone number:
Quote number:
Billing contact person: |  |  |  |  | Email:
Billing address:
Date:
Experimental Design Information
What is your target sequence?
Is Metagenom preparing the libraries?
Is Metagenom extracting DNA?
How many sequencing reads are required?
Sample information (please add more rows if needed)
Sample Name | Plate position (well), if applicable | A260/A280 | A230/A260 | Concentration (ng/μl) | Sample vol. (μl) | Measurement Method (NanoDrop, Spec, Qubit.) | Sequencing type 16S, ITS, 18S, Genomic
Read Depth
Marker Sequencing (16S, 18S, ITS): 30K reads (default), custom depths are available
Shotgun sequencing: depth is dependent on your sample and Metagenom Bio will provide consultation